## Samples
sample_id | site_name | what3words | date | time | sampled_by | sampling_purpose | sample_type | sample_material | flow_condition | rain_last_48h | water_temperature | water_temperature_method | water_temperature_kit_lot | dissolved_oxygen | dissolved_oxygen_method | dissolved_oxygen_kit_lot | ph | ph_method | ph_kit_lot | conductivity | conductivity_method | conductivity_kit_lot | turbidity | turbidity_method | turbidity_kit_lot | phosphate | phosphate_method | phosphate_kit_lot | ammonia | ammonia_method | ammonia_kit_lot | nitrate | nitrate_method | nitrate_kit_lot | total_coliform | total_coliform_method | total_coliform_kit_lot | ecoli | ecoli_method | ecoli_kit_lot | analysis_date | analysis_time | analysed_by | contributor | data_source | notes

## How to fill this in
How to fill in the Samples sheet
One row per sample: one visit to one site. Put each reading in its measurement's column, with the method in the column next to it. Leave a column blank if you didn't measure it.
Times are local clock time where and when the sample was taken: UK time, so BST (one hour ahead of GMT) in summer. Don't convert them to UTC or GMT; we do that, and a converted time ends up an hour out.
Required columns are shaded orange on the Samples sheet. Click any cell there to see what goes in it; columns with fixed choices have a dropdown.
Upload the file on the Upload data page of your console. You'll see exactly what will be saved before anything is, and can fix problems there.
Column | Needed? | What goes in | Example
sample_id | Optional | Your own reference for the sample, to tie its readings together. | 1
site_name | Recommended | What you call the place. Shown on the map. | Snailwell Pool
what3words | Required | The what3words address of the spot. A new address makes a new site. | ///digress.troll.outnumber
date | Required | The day the sample was taken, DD/MM/YYYY, as the local calendar showed it. | 05/06/2026
time | Recommended | Local clock time when the sample was taken, 24-hour HH:MM: UK time, so BST in summer. Not UTC/GMT. We convert it. | 10:00
sampled_by | Recommended | Who took the sample: initials are fine. | JR
sampling_purpose | Recommended | Why the sample was taken. Pick from the list. | routine
sample_type | Recommended | How it was taken. Pick from the list. | grab
sample_material | Recommended | What kind of water it was. Pick from the list. | river
flow_condition | Optional | How the river was flowing. Pick from the list. | normal
rain_last_48h | Optional | Rain in the 48 hours before. Pick from the list. | none
water_temperature | If measured | Water temperature in °C. Usually -2 to 35. Below the kit's detection limit: write <0.02. Above its range: >300. | 0.5
water_temperature_method | Required with a reading | How it was measured. Pick from the list: HM Digital EC-3, Meter. | HM Digital EC-3
water_temperature_kit_lot | Recommended | The lot number on the reagent pack, so a bad batch can be traced. | HI713-2604
dissolved_oxygen | If measured | Dissolved oxygen in mg/L. Usually 0 to 25. Below the kit's detection limit: write <0.02. Above its range: >300. | 0.5
dissolved_oxygen_method | Required with a reading | How it was measured. Pick from the list: Meter. | Meter
dissolved_oxygen_kit_lot | Recommended | The lot number on the reagent pack, so a bad batch can be traced. | HI713-2604
ph | If measured | pH in pH units. Usually 3 to 11. Below the kit's detection limit: write <0.02. Above its range: >300. | 7.4
ph_method | Required with a reading | How it was measured. Pick from the list: Meter. | Meter
ph_kit_lot | Recommended | The lot number on the reagent pack, so a bad batch can be traced. | HI713-2604
conductivity | If measured | Conductivity in µS/cm. Usually 0 to 20,000. Below the kit's detection limit: write <0.02. Above its range: >300. | 0.5
conductivity_method | Required with a reading | How it was measured. Pick from the list: HM Digital EC-3, Meter. | HM Digital EC-3
conductivity_kit_lot | Recommended | The lot number on the reagent pack, so a bad batch can be traced. | HI713-2604
turbidity | If measured | Turbidity in FTU. Usually 0 to 2,000. Below the kit's detection limit: write <0.02. Above its range: >300. | 0.5
turbidity_method | Required with a reading | How it was measured. Pick from the list: Meter, Turbidity tube. | Meter
turbidity_kit_lot | Recommended | The lot number on the reagent pack, so a bad batch can be traced. | HI713-2604
phosphate | If measured | Phosphate as P in mg/L P. Usually 0 to 20. Below the kit's detection limit: write <0.02. Above its range: >300. | 0.5
phosphate_method | Required with a reading | How it was measured. Pick from the list: APEM Lab, Aquachem, EA Lab, Gallery, Hanna Checker, Hanna IRIS. | APEM Lab
phosphate_kit_lot | Recommended | The lot number on the reagent pack, so a bad batch can be traced. | HI713-2604
ammonia | If measured | Ammonia as N in mg/L N. Usually 0 to 50. Below the kit's detection limit: write <0.02. Above its range: >300. | 0.5
ammonia_method | Required with a reading | How it was measured. Pick from the list: APEM Lab, Aquachem, EA Lab, Hanna Checker, Hanna IRIS. | APEM Lab
ammonia_kit_lot | Recommended | The lot number on the reagent pack, so a bad batch can be traced. | HI713-2604
nitrate | If measured | Nitrate as N in mg/L N. Usually 0 to 100. Below the kit's detection limit: write <0.02. Above its range: >300. | 0.5
nitrate_method | Required with a reading | How it was measured. Pick from the list: APEM Lab, Aquachem, EA Lab, Hach nitrate strips, Hanna IRIS, Simplex Health nitrate strips, WaterWorks nitrate strips. | APEM Lab
nitrate_kit_lot | Recommended | The lot number on the reagent pack, so a bad batch can be traced. | HI713-2604
total_coliform | If measured | Total coliforms in cfu per mL. Usually 0 to 1,000,000. Below the kit's detection limit: write <0.02. Above its range: >300. | 0.5
total_coliform_method | Required with a reading | How it was measured. Pick from the list: Most Probable Number, Petrifilm. | Most Probable Number
total_coliform_kit_lot | Recommended | The lot number on the reagent pack, so a bad batch can be traced. | HI713-2604
ecoli | If measured | E. coli in cfu per mL. Usually 0 to 1,000,000. Below the kit's detection limit: write <0.02. Above its range: >300. | 14
ecoli_method | Required with a reading | How it was measured. Pick from the list: Most Probable Number, Petrifilm. | Most Probable Number
ecoli_kit_lot | Recommended | The lot number on the reagent pack, so a bad batch can be traced. | HI713-2604
analysis_date | Recommended for lab samples | If it was tested later: the day, DD/MM/YYYY. | 06/06/2026
analysis_time | Recommended for lab samples | If it was tested later: the local clock time, HH:MM (UK time, BST in summer). | 09:30
analysed_by | Optional | Who or which lab tested it. | FCL lab
contributor | Optional | Your name. Filled in from your account if left blank. | Your name
data_source | Optional | Which dataset it belongs to. Pick from the list; most uploads are lab. | lab
notes | Optional | Anything else worth knowing. Up to 300 characters. | Grey plume after the storm

## Valid values
Valid values
Methods are kept up to date by Full Circle Labs. If yours isn't here, tell us and we'll add it.
Method | Used for | Description
APEM Lab | Nitrate as N, Ammonia as N, Phosphate as P | Analysed by APEM's laboratory.
Aquachem | Nitrate as N, Ammonia as N, Phosphate as P
EA Lab | Nitrate as N, Ammonia as N, Phosphate as P | Analysed by the Environment Agency's laboratory.
Gallery | Phosphate as P
HM Digital EC-3 | Conductivity, Water temperature | Handheld conductivity and temperature tester (Angling Trust WQMN kit).
Hach nitrate strips | Nitrate as N | Colour-band test strips; the reading is nitrate plus nitrite, as N.
Hanna Checker | Ammonia as N, Phosphate as P
Hanna IRIS | Nitrate as N, Ammonia as N, Phosphate as P
Meter | Water temperature, pH, Conductivity, Dissolved oxygen, Turbidity | A handheld or field meter with a probe, read on site.
Most Probable Number | Total coliforms, E. coli
Petrifilm | E. coli, Total coliforms | Petrifilm count plate from a 1 mL sample: cfu per mL.
Simplex Health nitrate strips | Nitrate as N | Colour-band test strips reading nitrate and nitrite separately.
Turbidity tube | Turbidity | Graduated tube read by eye, in NTU.
WaterWorks nitrate strips | Nitrate as N | Colour-band test strips reading nitrate and nitrite separately, as N.
sampling_purpose | Means
routine | a regular monitoring visit
investigation | looking into a suspected problem
incident | taken because something had gone wrong, such as pollution
event | taken because of an event, such as a storm or a spill
sample_type | Means
grab | water collected in a bottle
in_situ | measured in the water itself
composite | several samples mixed together
sample_material | Means
river | River / running surface water
lake | Pond / lake / reservoir water
canal | Canal water
groundwater | Groundwater
drainage | Surface drainage
estuary | Estuarine water
sea | Sea water
rain | Precipitation
effluent | Final sewage effluent
minewater | Minewater
flow_condition | Means
dry | no flow
low | below normal
normal | usual for the time of year
high | above normal
flood | out of its banks
rain_last_48h | Means
none | no rain in the last 48 hours
light | some rain
heavy | heavy rain
data_source | Means
lab | a partner or citizen sample
citizen | the same as lab
fcl | Full Circle Labs' own sampling (FCL staff only)

## Lists (hidden)
m_water_temperature | m_dissolved_oxygen | m_ph | m_conductivity | m_turbidity | m_phosphate | m_ammonia | m_nitrate | m_total_coliform | m_ecoli | sampling_purpose | sample_type | sample_material | flow_condition | rain_last_48h | data_source
HM Digital EC-3 | Meter | Meter | HM Digital EC-3 | Meter | APEM Lab | APEM Lab | APEM Lab | Most Probable Number | Most Probable Number | routine | grab | river | dry | none | lab
Meter |  |  | Meter | Turbidity tube | Aquachem | Aquachem | Aquachem | Petrifilm | Petrifilm | investigation | in_situ | lake | low | light | citizen
[5 empty] | EA Lab | EA Lab | EA Lab |  |  | incident | composite | canal | normal | heavy | fcl
[5 empty] | Gallery | Hanna Checker | Hach nitrate strips |  |  | event |  | groundwater | high
[5 empty] | Hanna Checker | Hanna IRIS | Hanna IRIS |  |  |  |  | drainage | flood
[5 empty] | Hanna IRIS |  | Simplex Health nitrate strips |  |  |  |  | estuary
[7 empty] | WaterWorks nitrate strips |  |  |  |  | sea
rain
effluent
minewater